# ILLICIT DISCHARGE CONTROL ACTIVITIES

# ILLICIT DISCHARGE CONTROL ACTIVITIES

## QUALITATIVE RESULTS

Municipality: City of Pleasant Hill	Permit Year:  (2008/2009)

Introduction:

The City implements the Illicit Discharge Control Activities (IDCA) Program to limit non-stormwater discharges in the City.  The scope of the IDCA Performance Standards overlaps that of the City’s Inspection program.   The two programs identify and correct problems at existing operating fixed sites.  The IDCA Program also includes activities to prevent and/or stop non-stormwater discharges in City Construction Projects.  The Program includes City services for collecting and safely disposing (or recycling) of polluting materials.  The Program installs signs to notify staff against overfilling tanks at City fueling stations.  The program includes an activity to assure that inlets are stenciled to remind people not to dump materials into storm drains.  Finally the program includes services to respond and mitigate accidental spills and unlawful dumping.

The primary contact person regarding permit compliance for this activity is Rod Wui, Pleasant Hill Clean Water Program Manager/Associate Civil Engineer, (925) 671-5261 or rwui@ci.pleasant-hill.ca.us.  In addition, the City’s Code Enforcement Officer, Mike Lange, provides inspection and reporting support.

The Contra Costa Clean Water Program recently revised its model Illicit Discharge Control Activities Plan to address amended Performance Standards.  A detailed discussion of the revised model plan is included in Volume I, Section 7 of the Annual Report.  The City updated its IDCA Plan as a result.  Some modifications include the addition of the spill responsibility flow charts and phone contact list, and improving coordination with other local jurisdictions as first responders (See FY 2005/2006 Annual Report).

Implementation & Evaluation:

Develop an Illicit Discharge Control Inspection Program

Central Contra Costa Sanitary Sewer District performs most illicit discharge inspections in the City.  Their activities were reported in detail in the Inspection Section and in Volume 1.

The City formally adopted its Illicit Discharge Control Plan on July 16, 2001.  The plan identifies most of our commercial and industrial areas as priority inspection areas.  Within these zones inspectors perform routine and call-out type inspections to discover and correct illicit discharges.  The Group Program amended its Model Illicit Discharge Control Plan in the June 2005.  The City revised its Illicit Discharge Control Plan recently to incorporate the revisions (See FY 2005/2006 Annual Report).

The City uses the spill response procedure based on a model procedure distributed by the Group Program.  Three City staff members responsible for illicit discharge control have been trained in the past year regarding the notification process.

Proactive:  Field Screening Program

The City continues to inspect creeks annually.  While this effort is mostly aimed to identify and eliminate flood hazards it provides opportunities to identify and correct illicit discharges.  As in previous years, there have been no significant discoveries made during this reporting period.  This is most likely due to the fact that most residents who live along the creek channels have been educated and informed through the City’s PEIO program about proper creek maintenance and its beneficial uses.

Dry weather inspections are carried out year round for both construction-related activity and existing land-use activity.  Inspections occur in a variety of ways, inspection of city hot spots, response to call-outs, by direct encounter by a City staff.  Past experience suggests that illicit discharges are “random events” within the City.  For this reason, it is beyond the City’s ability to systematically seek out “random” occurrences of illicit discharge.  The City does track where these events occur, and has not been able to identify any particular pattern.  All of our City field staff has been trained to make referrals to engineering division or maintenance division staff if an illicit discharge is encountered.

Reactive:  Investigate Spill Reports/Comments

Spills typically come from four sources: water main/lateral problems, sanitary sewer overflows, an illegal discharge from business activities, or an illegal discharge from home improvement activities.  The City assumes that the utility discharges have been or will be reported to the Regional Board by these separately permitted districts (Central Contra Costa Sanitary District, East Bay MUD, Contra Costa Water District, and City of Martinez).  The utilities or agents working for them did perform work in the public right-of-way in the report period as evidenced by various encroachment permits issued by the City.  These permits are not considered notification for illicit discharges.  Illegal business discharges have been reported in the Inspection Section of this report.

In addition, staff continues to work closely with Contra Costa Water District and RWQCB staff to properly permit planned discharges throughout the City.  These occur mostly due to routine reservoir cleaning and inspection, which requires emptying the reservoir.  Other projects, such as a main line replacement, require flushing of the pipe.  Summary reports were submitted to the RWQCB and City (See ID-1).

In FY 2008/2009, there were no referrals of any illicit discharges.

In FY 2008/2009, there were also no spills in adjacent jurisdictions that flowed into the City of Pleasant Hill.

Staff continues to work with the various jurisdictions on the illicit discharge encountered at Sun Valley Apartments.  In October 2006, the staff was notified by a resident that the owner of the apartment complex has illegally dumped material onto the creek embankment adjacent to his property.  Once notified, staff immediately conducted a site investigation.  Work was stopped at the site, and the City notified RWQCB, US Army Corps of Engineers, and CA Department of Fish and Game staff.  Due to the winter season, it was agreed that the site would be stabilized prior to any corrective work be done in the creek.  Previously, staff has been notified by RWQCB, Army Corps, and Fish and Game staff that they will not pursue corrective action, other than a fine and landscape mitigation.  The City will work with the applicant to bring this project into compliance this next year.

The City requires our most prominent developer, Developer’s Diversified Realty, owner/operator of the 28 acre Pleasant Hill Downtown, to inspect and report on the implementation of its ongoing Stormwater Pollution Prevention Plan.  Their initial report was submitted in 2002.  A copy of their 2008/2009 annual report is on file in City Offices.  In FY 2004/2005, the City permitted a new redevelopment project similar to the Downtown project.  This project was the Crossroads Shopping Center.  The developer was also required to develop a post construction stormwater pollution prevention plan similar to the plan prepared for the Pleasant Hill Downtown Project.  A copy of their plan and inspection report is on file at the City.

The City's Solid Waste and Recycling Program was changed recently in FY 2003/2004.  New activities were authorized as a result of the changes: a construction and demolition recycling program, a commercial (a.k.a. business) recycling program and apartment complex recycling program.  In FY 2008/2009, there was only 1 project where significant demolition recycling was required.  The County demolished an abandoned school site.  It is expected that illicit discharges have been reduced as a result of this program.

The City also updated is Spill Response Flow Charts and Emergency Phone List to reflect staffing changes as needed (See FY 2005/2006 Annual Report).

Follow-Up, Enforcement, and Reporting

The procedures for follow-up, enforcement and reporting are highlighted in the City’s updated IDCA Plan.  After the illicit discharge has been corrected, a follow-up inspection is warranted.  The duration of time that passes before the re-inspection occurs varies due to the type and severity of the illicit discharge.  Residential areas generally occur within a year, while commercial or industrial facilities have an automatic re-inspection within 6 months and a follow-up within 1 year.

The City’s Code Enforcement officer takes the lead on all enforcement issues.  The officer documents all actions in an Investigation Report (See FY 2005/2006 Annual Report), and coordinates with the Contra Costa District Attorney’s office.  Most cases which cannot be handled at the City level are referred to the District Attorney’s office for prosecution.

Modifications:

IDCA-6 is modified.  We accelerated implementation of this Performance Standard through verbal direction to Central Contra Costa Sanitary District staff and from actual responses to call outs by residents and City officials.

Fiscal Year 2009/2010 Goals:

Continue to implement performance standards as proposed in our Storm Water Management Plan.

Continue to work closely with Clean Water Program Staff and Regional Water Quality Control Board staff to improve responses to spills involving multiple jurisdictions and multiple agencies.

Continue to work with the Contra Costa Clean Water Program staff and Contra Costa Watershed Forum to complete the analysis of CCMAP sampling of Grayson/Murderer's Creek Watershed.

Attachments:

ID-1	CCWD Discharge Summary Report

Please see FY 2007/2008 Annual Report for the following attachments:

- Pool Discharge Brochure

Please see FY 2006/2007 Annual Report for the following attachments:

- Letter to Villa Montanaro Apartments

Please see FY 2005/2006 Annual Report for the following attachments:

- Revised IDCA Plan 2006

- Spill Response Flow Charts & Phone List

- Sample Investigation Report

Please see FY 2003/2004 Annual Report for the following attachments:

- Pleasant Hill Downtown Annual Report (updated copy available)

Please see FY 2002/2003 Annual Report for the following attachments:

- Promotion to Transfer Center to reduce illegal dumping

Please see FY 2001/2002 Annual Report for the following attachments:

- Telephone Response List (updated copy available)

Illicit Discharge Control Activities – quantitative results

| Description | Industrial Areas | Commercial Areas | Residential Areas | Total |
| --- | --- | --- | --- | --- |
| Field Screenings |
| Total number of field screening areas identified within the Agency’s entire drainage area | 1 | 5 | 4 | 10 |
| Total number of field screening areas identified in the Annual Illicit Discharge Control Plan | 3 | 51 | 0 | 54 |
| Number of priority field screening areas inspected | 0 | 45 | 0 | 45 |
| Number of medium and low priority areas inspected. | 2 | 37 | 16 | 55 |
| Number of illicit connections/illegal discharges eliminated |  |  |  | 0 |
| Number of incidents that involved removal of the following materials |
| Construction materials/debris |  |  |  | 0 |
| Sewage |  |  |  | 0 |
| Food wastes |  |  |  | 0 |
| Automotive fluids |  |  |  | 0 |
| Yard wastes |  |  |  | 0 |
| Other |  |  |  | 0 |
| Other |  |  |  | 0 |
| Enforcement Activities |
| Number of Enforcement Actions Taken |
| Written corrective measures |  |  |  | 0 |
| Notices to comply |  |  |  | 0 |
| Stop work orders |  |  |  | 0 |
| Notices of violation |  |  |  | 0 |
| Fines |  |  |  | 0 |
| Other |  |  |  | 0 |
| Number of enforcement referrals (e.g., to code enforcement, City or District Attorney, other agencies, Regional Board, etc.) |  |  |  | 0 |
| Education/Outreach Activities |
| Number of illicit discharge control education materials distributed |  |  |  | 250 |
| Number of employees attending illicit discharge control training workshops |  |  |  | 1 |